# Tech Note 499
Wonderware® Support for VMware ESX Server

All Tech Notes and KBCD documents and software are provided "as is" without warranty of any kind. See the Terms of Use for more information.

Topic#: 002223
Created: September 2007

## Introduction

In order to increase computer utilization and availability, many companies are using server virtualization technology. To better support customers interested in this technology, Wonderware has tested several products for production use on VMware's ESX Server product.

### Supported Products

The following products are supported running on virtualized computers using VMware ESX Server v.3.0. For details, refer to the Recommendations section below.

- Wonderware Application Server 3.0

- Wonderware InTouch® 10.0

- Wonderware Historian 9.0 Patch 01

- Wonderware ActiveFactory 9.2

- Wonderware Information Server 3.0

- Wonderware InBatch 8.1 SP1

- Wonderware Manufacturing Execution Module 1.0

- Wonderware Production Events Module 2.0

- Wonderware Formula Management Module 1.0

- QI Analyst 8.0

- Wonderware DA Servers using a DASEngine with build 780.0401 or later. This includes ABTCP 1.5 and SIDirect 1.5.

## Physical & Virtual Systems Summary

In the context of virtualization, the physical machine is called the host, and the virtual machine is called the guest.

Virtualization technology partitions physical resources (such as memory, disk and processors) across multiple virtual computers. It also uses a virtualized system clock. Both the physical system and the virtual system experience time drift, but for different reasons.

The virtualized system clock is directly affected by resource utilization on the physical host system. The more heavily-utilized the physical system is, the less reliable the virtualized system clock becomes. The result is a virtual system clock that slows and accelerates relative to real-time.

Just as a physical computer can have insufficient resources for any particular Wonderware application (e.g. trying to run 10 InTouch Terminal Services sessions on a 500MHz Pentium with 128MB of memory), virtualized computers can be overloaded. While virtualization consolidates multiple servers and increases hardware utilization, it also increases the volatility of the system clock.

Most applications can easily adapt to such dynamic system clocks, but scan-based applications such as Wonderware Application Server that synchronize with external systems are more sensitive to these differences.

The more time-critical the execution is, the more important it is to minimize the drift in the system clock.

## Wonderware Time-Sensitive Applications

The following Wonderware software products are typically most sensitive to time-critical execution:

- Wonderware Application Server: When used for supervisory control.

- Wonderware InTouch HMI Software: When used for supervisory control.

- Wonderware Historian: When the historized data is timestamped by the Historian engine, or when it is timestamped external to the Historian, but has latency greater than 20 seconds.

Wonderware's testing of adequately-sized systems and applications found the drift between the virtualized system clock and an external real-time clock was typically no more than 100 milliseconds. The drift is continuously corrected by the system to match real time.

The drift was significantly lessened when the physical host's processor was utilized at 50% or less.

## Recommendations

The following guidelines will minimize the amount and impact of the virtual system clock drift:

- Target CPU Utilization: Deploy virtual machines on ESX Server with the goal of keeping server processor utilization at 50% or less.

- Use Memory Reservations: Use the VMware ESX Server console to make CPU and memory reservations for the virtual machine running Wonderware software. Virtual machines with reservations get preferential treatment by the scheduler in the ESX Server host, and will reduce the system clock drift in the guest.

- Processors: Although multi-processor physical host machines running ESX Server are strongly recommended, virtual machines configured with a single processor makes the ESX Server's scheduling simpler and keep the guest's system clock closer to real-time.

- Monitor System Clocks: Use both VMware and Wonderware tools for monitoring the system clock for excessive drift that will indicate excessive loading for a given application. The VMware tools are described in the Timekeeping in VMware Virtual Machines white paper.

For Wonderware Application Server, monitor the scan overruns in each AppEngine. If these tools indicate excessive drift, redeploy virtual machines and/or reduce the scan rates in AppEngines accordingly.

- Minimize High-Speed Processing: Avoid deploying Wonderware Application Server AppEngines with high-speed or time-critical scan processing to a virtualized computer. Hosting the Galaxy Repository on a virtualized server and using physical computers for the actual AppEngines is the recommended alternative.

- Use Single Time Synch: Microsoft® Windows and some Wonderware products include integrated time synchronization mechanisms, as do VMware Tools running in the guest. Wonderware and VMware recommend using the VMware Tools time synch, but it is essential to use exactly one of these mechanisms to avoid competing time adjustments. Since the guest clock is synchronized with the host clock, configure ESX Server to synchronize with a reliable clock.

- Use the VMWare Memory Control Driver: Install the optional VMware Tools component Memory Control Driver (sometimes called the "balloon driver") in the guest machine. This component improves virtual memory performance and reduces associated paging delays that impact the system clock.

- Descheduled Time Accounting: Another optional component of the VMware Tools for the guest, VMDesched, provides experimental support for improved clock reliability. 

Ensure the associated Windows Service is set to start automatically. See the VMware white paper Installing VMDesched on Windows Guest Operating Systems for details.


Figure 1: Memory Control Driver and Descheduled Time Accounting Installation Setup Options

## Technical Support & Troubleshooting

Wonderware Technical Support will not require clients running on VMWare ESX to recreate and troubleshoot every issue in a non-virtualized environment; however, Wonderware does reserve the right to request customers to diagnose certain issues in a native operating system environment, operating without the virtual environment. Wonderware will only make this request when there is reason to believe that the virtual environment is a contributing factor to the issue.

## Other Virtualization Technology

VMware ESX Server is currently the only virtualization technology formally supported by Wonderware in production applications. Other virtualization technology may exhibit more significant drift in the system clock with less control over virtual machine scheduling, making other platforms unsuitable for production use.

For more information about VMWare products and technology, click here.

##### Click the following icon to view this file in .pdf format:

E. Middleton

Tech Notes are published occasionally by Wonderware Technical Support. Publisher: Invensys Systems, Inc., 26561 Rancho Parkway South, Lake Forest, CA 92630.  There is also technical information on our software products at www.wonderware.com/support/mmi

For technical support questions, send an e-mail to support@wonderware.com.

Back to top

©2007 Invensys Systems, Inc. All rights reserved. No part of the material protected by this copyright may be reproduced or utilized in any form or by any means, electronic or mechanical, including photocopying, recording, broadcasting, or by anyinformation storage and retrieval system, without permission in writing from Invensys Systems, Inc. Terms of Use.