## Summary
Device Overview | Response | Notes and Comments
System Manufacturer | [enter response] | Enter notes/comments here.
System Model Number | [enter response] | Enter notes/comments here.
Current Software or Firmware Version | [enter response] | Enter notes/comments here.
Proposed Software or Firmware Version | [enter response] | Enter notes/comments here.
Vulnerability Assessment Score | Begin Assessment | Score is based out of 12. A higher score indicates a higher risk if the system is not upgraded or patch is not installed.
Patch / Upgrade Assessment Score | Begin Assessment | Score is based out of 15. A lower score indicates a lower risk from installing the upgrade or patch.
Determination | [enter response] | Suggested Responses: Patch Now, Patch Soon, Document and Do Not Patch
Comments | [enter response]
Assessed By Date Completed | [enter response]

## 1-Vulnerability Assessment
Question |  | Answer (from 1-3) | Answer Descriptions
Immediate Impact | What is the severity of immediate impact if this vulnerability is exploited? Ex: safety, environmental, business, regulatory, etc. |  | 1-Low 2-Medium 3-High/Critical
Other Impact | What is the impact to other devices if this vulnerability is exploited? |  | 1-No impact to other assets 2-Partial network compromise 3-Substantial network compromise
Exposure | How exposed is the affected asset to attack vectors? Ex: network-based attacks, physical access |  | 1-High security zone 2-Privileged / internal zone 3-Internet facing / public / guest zone
Likelihood | What is the likelihood of the vulnerability being exploited by an attacker? |  | 1-Unlikely to be exploited 2-Exploits likely to be developed / deployed in the future 3-Exploits exist / already widely exploited
| Total (out of 12) | 0 | A higher score means higher risk if the vulnerability goes unpatched

## 2-Patch Assessment
Question |  | Answer (from 1-3) | Answer Descriptions
Timing | How much downtime is expected to deploy this patch immediately? Assumes patch application is successful |  | 1-Little / no downtime expected 2-Significant, acceptable downdown expected 3-Downtime requires management approval
Errors | What business impact is expected if devices lose functionality due to patch installation? |  | 1-Little / no impact 2-Significant impact 3-Substantial / unacceptable impact
Stability | How stable is this patch? Based on vendor reliability, product features the patch is modifying, number of software releases being jumped |  | 1-Stable, patch has been thoroughly vetted 2-Unsure 3-High likelihood of errors
Scope | How many devices are you planning to patch at the same time? Higher device counts may increase risk from patching |  | 1-One, up to 10 2-Up to 50 3-More than 50
Recovery | How easily can you rollback the patch or restore functionality if there is a problem? Ex: from backup, downgrade firmware, etc. |  | 1-Easy, backups and spare devices are on standby 2-Medium, moderate recovery effort required 3-Hard, device may be damaged, requires onsite support
| Total (out of 15) | 0 | A higher score means higher risk from applying this patch